## Readme
Collaborative Platform for Simulation and Monitoring
Free performance analysis
March-24
R0
Operational data | Producction and operating conditions data, as registered by the SCADA system of the PV plant. The data time resolution can be from 10-minute to hourly |  | Estimates | Initial estimates: Monthly values included in the yield assessment. Uploading PVSyst reports is also allowed.
date_time | 10-minute, 15-minut or hourly resolution. Several date format compatible |  | GHI | Global horizontal irradiance, as registered by a pyranometer
GHI | Global horizontal irradiance, as registered by a pyranometer |  | GTI | Global tilted irradiance, as registered by a pyranometer installed in the PoA
GTI | Global tilted irradiance, as registered by a pyranometer installed in the PoA |  | Ta | Ambient temperature
Ta | Ambient temperature |  | Tc | Cell temperature
Tc | Cell temperature |  | EDC | Total DC energy produced in the PV plant, as measured at the string boxes/inverters entry.
EDC | Total DC energy produced in the PV plant, as measured at the string boxes/inverters. It is possible to upload individual DC readings (by equipment) |  | EAC | Total AC energy produced in the PV plant, as measured at the inverters output.
EAC | Total AC energy produced in the PV plant, as measured at the inverters output. It is possible to upload individual AC readings (by equipment) |  | EAC,POI | Total AC energy produced in the PV plant, as measured at the Point of Injection
EAC,POI | Total AC energy produced in the PV plant, as measured at the Point of Injection

## Data
Collaborative Platform for Simulation and Monitoring
Free performance analysis
March-24
R0
Operational data | [7 empty] | Estimates
date_time | GHI | GTI | Ta | Tc | EDC | EAC | EAC,POI | Month | GHI | GTI | Ta | Tc | EDC | EAC | EAC,POI
yyyy/mm/dd HH:MM | … | … | … | … | … | … | … | January
… | [7 empty] | February
March
April
May
June
July
August
September
October
November
December